## Slide 1: Calibrating and measuring: a paper-based activity Slides for printing
Notes: Science and Plants for Schools - www.saps.org.uk Calibrating and measuring in microscopy - a paper-based activity
Resource 6371 – Released 2025
All images taken by SAPS

## Slide 2
0-10 Eyepiece graticule
Notes: Print on acetate

## Slide 3
0-16 Eyepiece graticule
Notes: Print on acetate

## Slide 4
Stage micrometer
1mm long
Smallest division = 10µm
Viewed under a
magnification of x40
Notes: Print on paper

## Slide 5
Stage micrometer
1mm long
Smallest division = 10µm
Viewed under a
magnification of x100
Notes: Print on paper

## Slide 6
Stage micrometer
1mm long
Smallest division = 10µm
Viewed under a
magnification of x400
Notes: Print on paper

## Slide 7
Stage micrometer
1cm long in total
Numbered divisions = 1mm
Smallest division = 100µm
Viewed under a
magnification of x40
Notes: Print on paper

## Slide 8
Stage micrometer
1cm long in total
Numbered divisions = 1mm
Smallest division = 100µm
Viewed under a
magnification of x100
Notes: Print on paper

## Slide 9
Stage micrometer
1cm long in total
Numbered divisions = 1mm
Smallest division = 100µm
Viewed under a
magnification of x400
Notes: Print on paper

## Slide 10
B
Sunflower leaf
Transverse section
Viewed under a
magnification of x40
A
Notes: Print on paper

## Slide 11
B
Sunflower leaf
Transverse section
Viewed under a
magnification of x100
A
Notes: Print on paper

## Slide 12
Sunflower leaf
Transverse section
Viewed under a
magnification of x400
A
B
Notes: Print on paper