## Sheet1
Saved/Loaded | Setup version | Load version | Saved with | Loaded with | Saved with | Loaded with | Saved with | Loaded with | Saved with | Loaded with | Saved with | Loaded with | Saved with | Loaded with | Saved with | Loaded with | Saved with | Loaded with
DEWESoft version | DEWEsoft 7.0.6 | DEWEsoftX1 SP8 | 7.0.6 | X2 SP3 | 7.1 | 1 SP8 | 7.1 | X2 SP3 | X1 SP8 | X2 SP3 | 7.0.6 | X3 SP1 | 7.1 | X3 SP1 | X1 SP8 | X3 SP1 | X2 SP3 | X3 SP1 | Comment
ADMA-CAN Plugin | Not tested |  | Not tested |  | Not tested |  | Not tested |  | Not tested |  | Incompatible |  | Incompatible |  | Incompatible |  | Incompatible |  | Mounting settings dont save
ARINC-MIL1553 Plugin | Not tested |  | Not tested |  | Not tested |  | Not tested |  | Not tested |  | Not tested | Not tested | Not tested |  | Not tested |  | Not tested
AutoExport Plugin | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible
Ballard Plugin (ARINC 429, MIL 1553) - obsolete | Not tested |  | Not tested |  | Not tested |  | Not tested |  | Not tested |  | Obsolete |  | Obsolete |  | Obsolete |  | Obsolete
BrakeTest | Not tested |  | Not tested |  | Not tested |  | Not tested |  | Not tested |  | Compatible |  | Compatible |  | Compatible |  | Compatible
CA-Testbed Plugin | Not tested |  | Not tested |  | Not tested |  | Not tested |  | Not tested |  | Compatible |  | Incompatible |  | Compatible |  | Compatible |  | Channel name doesn't save
Chapter 10 | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible
ControlChannel plugin (Obsolete since Dewesoft X2) | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Obsolete |  | Obsolete |  | Obsolete |  | Obsolete
CPAD2 Plugin | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible, but in X2 SP3 the units change from °C to A°C, In X3 data format changes
CPU Usage | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Already implemented in system monitor in DEWESoft X2
CrossBow 440 | Not tested |  | Not tested |  | Not tested |  | Not tested |  | Not tested |  | Compatible |  | Compatible |  | Incompatible |  | Incompatible
Data Manager | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible
DeweCAM Driver | Not tested |  | Not tested |  | Not tested |  | Not tested |  | Not tested |  | Not tested | Not tested | Not tested |  | Not tested |  | Not tested
DS-IMU | Not tested |  | Not available |  | Not available |  | Not available |  | Not available |  | Not available |  | Not available |  | Not available |  | Not available
DS-NET Plugin | Not tested |  | Not tested |  | Not tested |  | Not tested |  | Not tested |  | Not tested | Not tested | Not tested |  | Not tested |  | Not tested
EPAD BASE2 Plugin | Not tested |  | Not tested |  | Not tested |  | Not tested |  | Not tested |  | Incompatible |  | Incompatible |  | Incompatible |  | Incompatible |  | Data format doesn't stay the same
Ethernet Receiver Plugin | Not tested |  | Not tested |  | Not tested |  | Not tested |  | Not tested |  | Compatible |  | Compatible |  | Compatible |  | Compatible
FlexRay | Not tested |  | Not tested |  | Not tested |  | Not tested |  | Not tested |  | Not tested | Not tested | Not tested |  | Not tested |  | Not tested
FLIR Plugin | Not tested |  | Not tested |  | Not tested |  | Not tested |  | Not tested |  | Not tested | Not tested | Not tested |  | Not tested |  | Not tested
FRF Geometry | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible
Gantner Plugin | Not tested |  | Not tested |  | Not tested |  | Not tested |  | Not tested |  | Not tested | Not tested | Not tested |  | Not tested |  | Not tested
GiGE | Incompatible |  | Incompatible |  | Compatible |  | Compatible |  | Compatible |  | Incompatible |  | Compatible |  | Compatible |  | Compatible |  | Setup made in DEWEsoft 7.0.6 causes an error when opened in X1 SP8 and X2 SP3, but the video works
GRS-1 plugin | Not tested |  | Not tested |  | Not tested |  | Not tested |  | Not tested |  | Compatible |  | Compatible |  | Compatible |  | Compatible
J1587 Plugin | Not tested |  | Not tested |  | Not tested |  | Not tested |  | Not tested |  | Not tested | Not tested | Not tested |  | Not tested |  | Not sure, ask Aljaž
Kistler Wheels Plugin | Not tested |  | Not tested |  | Not tested |  | Not tested |  | Not tested |  | Compatible |  | Compatible |  | Compatible |  | Compatible
Marcator Driver | Not tested |  | Not tested |  | Not tested |  | Not tested |  | Not tested |  | Not tested | Not tested | Not tested |  | Not tested |  | Not tested
Microstrain MIP | Not tested |  | Not tested |  | Not tested |  | Not tested |  | Not tested |  | Not tested | Not tested | Not tested |  | Not tested |  | Not tested
Microstrain Plugin | Not tested |  | Not tested |  | Not tested |  | Not tested |  | Not tested |  | Compatible |  | Compatible |  | Compatible |  | Compatible
Modal Circle | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Incompatible |  | Incompatible |  | Incompatible |  | Incompatible |  | frequency in modal cicle doesn't stay the same
MODBUS RTU plugin | Not tested |  | Not tested |  | Not tested |  | Not tested |  | Not tested |  | Not tested | Not tested | Not tested |  | Not tested |  | Not tested
MODBUS TCP/IP | Not tested |  | Not tested |  | Not tested |  | Not tested |  | Not tested |  | Not tested | Not tested | Not tested |  | Not tested |  | Not tested
NMEA Weatherstation Plugin | Not tested |  | Not tested |  | Not tested |  | Not tested |  | Not tested |  | Compatible |  | Compatible |  | Compatible |  | Compatible
OBDII Plugin | Not tested |  | Not tested |  | Not tested |  | Not tested |  | Not tested |  | Compatible |  | Compatible |  | Compatible |  | Compatible
ODE (Online Data Export) | Should work (partially tested) |  | Should work (partially tested) |  | Should work (partially tested) |  | Should work (partially tested) |  | Should work (partially tested) |  | Compatible up v1.0.1 |  | Compatible up v1.0.1 |  | Compatible up v1.0.1 |  | Compatible |  | Tested only setup not export to database
PAD-AO Plugin | Not tested |  | Not tested |  | Not tested |  | Not tested |  | Not tested |  | Catastrophic fail in X3 |  | Catastrophic fail in X3 |  | Catastrophic fail in X1 & X3 |  | Catastrophic fail in X2 & X3
PCM Telemetry plugin | Not tested |  | Not tested |  | Not tested |  | Not tested |  | Not tested |  | Compatible up v11.0.0 |  | Compatible up v11.0.0 |  | Compatible up v11.0.11 |  | Compatible
Photron Highspeed-Camera Plugin | Not tested |  | Not tested |  | Not tested |  | Not tested |  | Not tested |  | Not tested | Not tested | Not tested |  | Not tested |  | Not tested
Polygon | Not tested |  | Not tested |  | Not tested |  | Not tested |  | Not tested |  | Compatible |  | Compatible |  | Compatible |  | Compatible
Psophometer | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Incompatible |  | Incompatible |  | Compatible up v1.4 |  | Compatible |  | Error: Math plugin missing/failed in X1 when newer versions are used. Filter isn't the same in X3 and 7.0.6
RemoteControl Plugin | Not tested |  | Not tested |  | Not tested |  | Not tested |  | Not tested |  | Not tested | Not tested | Not tested |  | Not tested |  | Not tested
Rosette | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible
Rotor Balancer | Compatible v2.5 |  | Incompatible |  | Compatible v2.5 |  | Incompatible |  | Incompatible |  | Compatible |  | Compatible |  | Compatible v2.5 |  | Compatible
RS232 Plugin | Not tested |  | Not tested |  | Not tested |  | Not tested |  | Not tested |  | Not tested | Not tested | Not tested |  | Not tested |  | Not tested
Selective Store (FLIR alarm) | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible
SendMail plugin | Not tested |  | Not tested |  | Compatible |  | Compatible |  | Compatible |  | Compatible (v3.0 must be installed on Dewesoft 7.0.6) |  | Compatible |  | Compatible |  | Compatible |  | SendMail plugin v2.0 doesn't work in DEWESoft 7.0.6, but the created setup for SendMail in DEWESoft 7.0.6 works in X1 SP8 and X2 SP3. Send Mail v1.0 doesn't work at all.
SerialCom | Not tested |  | Not tested |  | Not tested |  | Not tested |  | Not tested |  | Not tested | Not tested | Not tested |  | Not tested |  | Not tested
Sound Power | Incompatible |  | Compatible but no sound power visual view |  | Compatible only for v1.1 |  | Compatible only for v1.1 |  | Compatible only for v1.1 |  | Compatible only for v2.0 |  | Compatible only for v2.0 |  | Compatible only for v1.1 |  | Compatible only for v2.0 |  | Sound power plugins above version 1.1 don't work in DEWESoftX1
TCP/IP Binary Client | Not tested |  | Not tested |  | Not tested |  | Not tested |  | Not tested |  | Not tested | Not tested | Not tested |  | Not tested |  | Not tested
Telemetry Camera | Not tested |  | Not tested |  | Not tested |  | Not tested |  | Not tested |  | Not tested | Not tested | Not tested |  | Compatible |  | Compatible
XCP Plugin | Not tested |  | Not tested |  | Not tested |  | Not tested |  | Not tested |  | Not tested | Not tested | Not tested |  | Not tested |  | Not tested
XSens Driver | Not tested |  | Not tested |  | Not tested |  | Not tested |  | Not tested |  | Not tested | Not tested | Not tested |  | Not tested |  | Not tested
SoundOutput Plugin | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Not tested |  | Compatible |  | Not tested
Modal Test (FRF) | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible
SRS | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Incompatible |  | Compatible v2.9
Polygon vehicle dynamic test | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible
FUSI | Not tested |  | Not tested |  | Not tested |  | Not tested |  | Not tested |  | Not tested | Not tested | Not tested |  | Not tested |  | Not tested
Break test | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible
CAPS/ACC | Not tested |  | Not tested |  | Not tested |  | Not tested |  | Not tested |  | Not tested | Not tested | Not tested |  | Not tested |  | Not tested
Energy calculation | Not available |  | Not available |  | Not available |  | Not available |  | Not available |  | Not available |  | Not available |  | Not available |  | Not available
(Math function)
Formura,Filters,Statistics,Latch ,Combustion noise,Angle sensor math | Incompatible for Combustion |  | Incompatible for Combustion |  | Incompatible for Combustion |  | Incompatible for Combustion |  | Not tested
Formula | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Only complex formula is incompatible
Array formula | Not available |  | Not available |  | Compatible |  | Compatible |  | Compatible |  | Not available |  | Compatible |  | Compatible |  | Compatible
IIR filter | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible
FIR filter | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible
FFT filter | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible
Array statistics | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible
Classification | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible
Counting | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Incompatible |  | Incompatible |  | Compatible |  | Compatible |  | X3 doesnt have rainflaw 2D counting method
Correlation | Incompatible |  | Incompatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Incompatible |  | Compatible |  | Compatible |  | Correlation type cepstrum missing in X3
Reference curve | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible
Statistics | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible
XY reference curve | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible
FFT reference curve | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible
Constant array | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible
Exact frequency | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible
Envelope | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Incompatible |  | Incompatible |  | Compatible |  | Upper frequency limit is not the same (400 Hz in X1 488 Hz in X3)
CA noise | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible
Delay channel | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible
Latch math | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible
Angle sensor | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible
Scope math | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible
Reference scope array (Time-to-vector transform) | Not avaliable |  | Not avaliable |  | Compatible |  | Compatible |  | Compatible |  | Not avaliable |  | Compatible |  | Compatible |  | Compatible
FFT | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible
STFT | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible
CPB | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible
Sine Processing | Not avaliable |  | Not avaliable |  | Compatible |  | Compatible |  | Compatible |  | Not avaliable |  | Compatible |  | Compatible |  | Compatible
PID control | Not avaliable |  | Not avaliable |  | Compatible |  | Compatible |  | Compatible |  | Not avaliable |  | Not avaliable |  | Compatible |  | Compatible
Human body vibration | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible
Order Tracking | Compatible |  | Incompatible |  | Compatible |  | Incompatible |  | Incompatible |  | Incompatible |  | Incompatible |  | Compatible |  | Compatible |  | Frequency channel isnt saved
Torsional vibration | Not tested |  | Not tested |  | Not tested |  | Not tested |  | Not tested |  | Mostly Compatible |  | Compatible |  | Compatible |  | Mostly Compatible |  | Only input filter isn't saved
Sound Level | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible
Power module | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Incompatible |  | Compatible |  | Compatible |  | Harmonics isn't selected
Combustion analyzer | Incompatible |  | Incompatible |  | Incompatible |  | Incompatible |  | Not tested |  | Incompatible |  | Compatible |  | Compatible |  | Compatible
(Out Put)
Alarm monitoring | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible
Analog replay data | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible
CAN output | Not tested |  | Not tested |  | Not tested |  | Not tested |  | Not tested |  | Compatible |  | Compatible |  | Compatible |  | Compatible
Multichannel function generator | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible |  | Compatible
TEDS | Not tested |  | Not tested |  | Not tested |  | Not tested |  | Not tested |  | Not tested | Not tested | Not tested |  | Not tested |  | Not tested