FINAL – 19/11/13

Progressive shelter design minimum standards

Shelter cluster Bohol 2013

| A | INDICATOR | STANDARD |
| --- | --- | --- |
| 1. | Upgradable / expandable shelter | -The shelter must be designed in a manner that it can be upgraded and accommodate expansion with minimum wastage and damage to the structural integrity. -In some situation the design to consider moveable shelter. (E.g. where households are in temporary land occupancy situation.) |
| 2. | Land tenure status | -Land occupancy permission must be in place. The duration of occupancy determined according to situation. -Standard: 2 year renewable contract or more. |
| 3. | Site Placement | -New shelter should not be built in hazard /no-build zone. -Shelter should be constructed at locations which does not inhibit progressively upgrading or extending. -Allow space for DRR measures (E.g. fire breaks, drainage to prevent flooding of shelter…) |
| 4. | Plot preparation | -Properly clear site from physical hazards/debris from the earthquake (e.g. trees likely to fall, debris, salvaged material, working in cooperation with neighbors to clear neighboring plots) -Properly prepare site following DRR principles (good compaction of construction site, not close to weak rooted trees, not on flood plains) |
| 5. | Culturally and climatically appropriate | -Community consultation process must be reflected in the design. -All techniques must build upon local knowledge reinforce hazard resistant techniques. -Materials and construction techniques to be used are familiar to the community. - Local population must be comfortable and able to replicate simple improved DRR techniques. -Understand that each household may or may not want the same design as this may encroach on individual identity dignity issues |
| 6. | Internal area | -Provide a minimum of 3.5m2 per persons -Philippines average size 5.0 persons per household equating to 17.5m2 |
| 7. | Foundation | - Excavation should be deep enough to reach stable or hard soil type. - Ensure good compaction of earth. -When possible ensure PCC layer beneath foundation – Raise plinth 6-9” (15 to 20 cm) above flood water level if needed. - Raise floor level to prevent ingress of low surface water - height according to location, if needed. |
| 8. | Structure | For Timber frame construction follow the below minimum guidelines: - Make deep re-enforced concrete pad foundations, if using hollow block wall make strip foundation and tie blocks back to structure. - Connect pedestal column to the timber posts. - Size of timber post should be min 100mm x100mm (150mmsq is stronger) - Use tie wire for hurricane strapping - Fix cross bracing in all corners - Use additional wood for truss bracing - Fix purlins to truss with wooden block NOTE: -Frame needs to be anchored to the foundation. - Inform on simple solutions to improve the shelters resistance: e.g. diagonal braces, improved joists, ratio length: width, slope and overhang of roof etc.) - Ensure that frame material (eg. Wood or metal) bear the load rather than fasteners/fixings. - Current local practice to treat bamboo and wood members uses burnt engine oil or Solignom paint. - The structures of transitional shelter should be demountable to allow the reinstallation of the shelter in a new (or original) location or the reuse of the materials. (if applicable) |
| 9. | Minimum head height | -Provide minimum 6ft 11inch (2.1m) floor to ceiling head room for covered habitable space. - Double pitch roofs: 60% of shelter should have min. height of 6ft 11inch (2.1m) - Note: ideal height is approx. 2.4m |
| 10. | Roof Design | -Preferred hipped roof design to be stronger against wind at a pitch 30-45 degrees -Recommended extension of eaves: min. 6” and max 12” (min 15 cm and max 30 cm) - Ensure water drainage from the roofs. |
| 11. | Ventilation and thermal comfort | Design of the shelter to allow for adequate cross ventilation, and minimise internal temperatures (min 1m2 ventilation to 2 sides of each room) |
| 12. | Weatherproofing | -Protection against driving rain and to resist against uplift created by strong winds. (see roof design) -Amakan is preferred about plywood, if plywood is used it needs to be made water resistant. |
| 13. | Plinth Public health – Drainage | -Site drainage must be provided to avoid flooding. Floor level to be above seasonal flood levels. - Raise plinth level high enough to protect the base of the wall. - For block construction use plaster on external walls to increase life span of wall. |
| 14. | Water & Sanitation | -Waste water disposal facility septic tank and seepage trench. (each new constructed progressive shelter needs to have a toilet, existing one can be re-used, coordination with other agency to implement watsan should be sought) -Rain water harvesting for access to safe water in flood times to be included. (recommendation) |
| 15. | Privacy & protection | Design to provide possibility to internally divide house for privacy. |
| 16. | Lifespan | -Materials selection, design and construction to be designed for minimum 3 years and to last for 10 -15 years with good maintenance -Note: Dependent upon the frequency and severity of floods and strong winds affecting the area. |
| 17. | Flexibility/resource efficiency | -Material to be procured locally if quality and price is available. -Use of salvageable material to be considered, however only qualified salvaged materials (e.g. avoid burnt, decayed, swollen material). -Check amount of salvaged material available to beneficiaries. Design of shelters not fully to rely on availability of this type of material. |
| 18. | Environmental Sustainability | Consider sustainable harvest of bamboo and coco lumber. Note permission to cut lumber is national requirement. |
| 19. | Cost | Target total cost of 33,000-50,000 PHP which includes labour transport and material costs. Note: this cost is for use of all new material, if using salvaged material cost can be reduced. Does not include the cost for wash facilities. |
| 20. | Adherence to standards | Adhere or provide better facility than the SPHERE standards for shelter provision |
| 21. | Adherence to Philippines Building Code | SECTION 209. Exemption Public buildings and traditional indigenous family dwellings shall be exempted from payment of building permit fees. As used in this Code, the term “traditional indigenous family dwelling” means a dwelling intended for the use and occupancy by the family of the owner only and constructed of native materials such as bamboo, nipa, logs, or lumber, the total cost of which does not exceed fifteen thousand pesos. (Building code 2005 – cost of house will be updated) |
| B. | HAZARD | STANDARD |
| 1. | Safety and Hazard resistant construction | -Shelter construction to be structurally sound against hazards such as earthquake, high winds, stagnant waters and flash floods. -Fire safety escape should be considered example consider two doors for escape. |
| 2. | Fire hazard | Perform site planning and disseminate information on appropriate safe use of fire near the shelter. |
| 3. | Earthquake | - Match design of shelter to local seismic risk. - Seismic resistance techniques to be incorporated into site selection, shelter form, the location of openings, foundations, bracing and ring beam connections - Openings weaken the structural integrity of walls – ensure load above the openings is transferred to other structural components. - Roof beam to overhang min. 6” (15 cm) on each side - Walls to integrate braced structure cross bracing or diagonal bracing |
| 4. | Hurricane/strong winds | - Form of shelter: rectangular or square type (ratio length to width approx. 1:1 or 1:1.5) - Secure shelter to the ground (strong foundations, lightweight frame anchored to foundation) - Roof structure with adequate strength for proposed roofing material - Apply metal strapping to reinforce roof structure to withstand hurricanes, earthquakes - Sufficient pitch to direct winds away: 2-pitched roof: min. 30°- 45°, 1-pitched roof: 12°-14° |
| C. | MATERIALS | GUIDELINES FOR TECHNICAL SPECIFICATIONS |
|  | Information | http://www.unisdr.org/files/10329_GoodBuildingHandbookPhilippines.pdf |
|  | Sand | -must be coarse, clean and without stones -should not contain dust -must never by coral sand (if from sea shore it must be thoroughly washed first and contain no shell or coral fragments) |
|  | Gravel | -must contain broken stones and not plain rounded river stones -the maximum stone size for house construction concrete is 2cm (3/4”) |
|  | Water | -must be clean and free of salt and algae, salty water destroys the strength of the concrete. |
|  | Cement | Portland Cement |
|  | Concrete | Good clean ingredients with limited water makes strong concrete: - Ensure adequate cement is added - Mix ingredients well - Limit water, and use only clean water. Concrete should stand up when mixed, not flow away due to excessive water. - No vegetable matter is to be mixed into concrete (no grass, wood, leaves or roots) - It must be vibrated or tamped with a round rod to ensure proper filling of the from and proper cover to all reinforcement |
|  | Concrete mix | -Minimum strength of 15Mpa (earthquake prone) -Water/Cement ratio 0.85 this means 30 liters of water for 35 kg of cement -Concrete mixer is 75% aggregates (sand and gravel) 25% (mixer of water and cement as described above) |
|  | Reinforcement steel | -Deformed steel of twisted deformed steel is best for structural use. -10 mm diameter for steel bars |
|  | GI sheets for roof | -If GI sheets are used instead of Nippa, use gage 26 x .35 thickness corrugated Galvanize Iron or Galvanize Aluminum for roofing |
|  | Timber for structure and roof | -Use coco lumber or equivalent hard wood materials for the timber requirement. |