[image: image1.png]


[image: image3.emf] 

From
: National Emergency Operation Centre


 SITREP NO: 53/2012

To
: As per distribution list

     


 Time: 1600hrs – 0000hrs
Subject: Situation Report- 53 




 Date: April 16th, 2012
1.0     GENERAL SITUATION
     Weather Bulletin
     Issued from the National Weather Forecasting Centre Nadi

     at 7:30pm on Monday the 16th of April 2012

     Situation:

      A trough of low pressure with associated cloud and rain

     remains over Fiji. It is expected to gradually weaken and move

     eastwards away from the group tomorrow.

Forecast to midnight tomorrow for the Fiji group:

     Occasional rain, heavy at times and few thunderstorms over most

     Places. Flooding of low lying areas especially over the main islands.

     Rain easing from later tomorrow. Moderate easterly winds becoming predominantly      

     south-easterly from tomorrow. Moderate seas.  

     SATELITE IMAGE
     [image: image4.png]



Marine Weather Bulletin

Issued from the National Weather Forecasting Centre Nadi

at 7:30pm on Monday the 16th of April 2012



Situation:
A trough of low pressure with associated cloud and rain remains over

Fiji. It is expected to gradually weaken and move eastwards away from

the group tomorrow.

2.0  INITIAL DAMAGE ASSESSMENT –SUMMARY BY SECTOR

	SRL
	SECTORS
	ESTIMATED COST

	01
	ROADS
	$17,951,438.50

	02
	WATER
	$11,910,000.00

	03
	WORKS
	$1,180,000.00

	04
	FEA
	$4,000,000.00

	05
	TELECOMUNICATION
	$152,000.00

	06
	AGRICULTURE
	$17,416,693.60

	07
	EDUCATION
	$3,188,650.00

	08
	HEALTH
	$606,544.50

	09
	SUGAR
	$10,530,000.00

	10
	HOUSING
	$4,359,660.00

	
	TOTAL
	$71,294,986.60


                                                                          Note: Figures stated above is subject to change
3.0  EVACUATION CENTRES

3.1 WESTERN DIVISION EVACUATION CENTRES 

No changes since sitrep 52

Refer to Annex 1 for further details.
	     DIST
	ACTIVE
	ADULT
	CHILD
	INFANT
	TOTAL 
	Family
	Schools EC

	NADI
	17
	387
	261
	40
	688
	n/a
	0

	SGTK
	5
	268
	171
	18
	457
	n/a
	0

	TOTAL 
	22
	655
	432
	58
	1145
	0
	0


4.0   CASUALITIES
        No changes since sitrep 19
5.0    HEALTH
· Occupancy rates for the 5 sub-divisional hospitals are between 28% and 69%.
· Mortuary occupancy rates between 22% and 100%.
· All sub-divisional hospitals are operating normally with full restoration of Power and water supplies.
· Sub-divisional teams are still conducting public health activities on the ground which includes outpatient management, village/settlement assessment with antiseptic spraying,  quality water testing, food condemnation, mosquito larval surveys with focal spraying and general awareness on hygiene & environmental sanitation which needs multi-stakeholder approach to a mass cleanup campaign which needs to be activated from their relevant District DISMAC centres. 
· For most of the evacuees, their houses are generally clean & have been sprayed but the issue now is the general state of their environmental surroundings. 
· Concentrating on communicable diseases surveillance due to the increase in trend of suspected cases which is usually expected post disaster.  Sub-divisional hospitals have been advised to prepare back up plans in anticipating an increase in patient care.
6.0     FIJI ROADS AUTHORITY
	          Refer to Annex 2 for update.
7.0     FIJI ELECTRICITY AUTHORITY 

The Fiji Electricity Authority team has confirmed that all powers in the region have been     restored (100%).Residents in the affected areas have been advised to engage electrical contractors to inspect their homes before F.E.A install grids in their area.    
8.0 
EDUCATION

·  All schools in Nadi and Lautoka are operating 
· Nadi has improved its school daily attendance with 52% attendance.
· Lautoka school daily attendance is 82%
· Teachers in respecting schools conducting surveys to find out why students are not in schools.
· MOE and donor partners – save the children are distributing school packs to affected students in Nadi and Lautoka schools


9.0      WAF UPDATE:
      Refer to Annex 3 for update.
10.0  NATIONAL FIRE AUTHORITY:
        No further updates since sitrep 52
   Work done during the weekend (14-15th)
Nadi Town.
Manpower/Vehicles Engaged

·  4 Officers on callback

· 3 On Duty officers

· 2 vehicles

Task carried out

· Washing of Richmond Cres St

· Washing of a Government Quarter at Lodhia St

· Water carting

The above task has been given from the DO’s office and Nadi Town Council to the Nadi Fire Department.

Tavua Town

Manpower /Vehicle Engaged

· 3 on Duty Officers

· 1 vehicle

Task carried out

· Washing of Tavua Muslim School Verandah

The above task has been given from the DO’s Office to Tavua Fire Department. 

Rakiraki Town 

No clean up was done

Ba Town

No clean up was done

Lautoka Town

No clean up was done.

11.0    AGRICULTURE

   No further updates since sitrep 52

REHAB FUNDING

Total rehab funding of $731,818 has been submitted to MOE (RIE)

Export Promotions Programmes has been reprioritized to fund the rehab programme.


REHAB PROGRAMME

Field staffs around Western and Central Divisions are visiting farmers affected to advise them to start preparing their land.

Farmers in Sigatoka and Ra have started preparing their land and are ready with the planting.

TTM Seedlings have been distributed last week to farmers in Sigatoka and Ra.

Hop Tiy Ltd have started delivering Vegetable seeds from Friday 13/04/12

12.0    CHALLENGES 
· Return of people to evacuation centers due to unbearable mud smell and silt deposits that surround their residence.
· The inconsistency of information from various sources.

· Health issues in terms of containment/control of communicable disease, etc.

· Distribution of rations in the divisions.
 13.0   FOCUS FOR THE NEXT 24 HOURS: 

· Return to normalcy
· Focus on Rehabilitation and Reconstruction.
· Continuation of immediate relief supply operations. 
· Full restoration of essential services.
· Submission of DDA reports. 
· Continue –short/mid-term recovery operations.
         Respectfully submitted,
          Laisenia Tui (Mr.)

          for National Disaster Controller 
ANNEX - 1: ACTIVE EVACUATION CENTRES
SIGATOKA 

	#
	Evacuation Centers
	Province
	Location
	Infant
	Fami-lies
	Adult
	Child
	Total

	1
	Nayawa Village Hall
	Nadroga
	Nayawa
	 
	 
	40
	44
	84

	2
	Nabau Village Hall
	Nadroga
	Nabau Village
	18
	 
	135
	63
	216

	3
	AOG Church Cuvu
	Nadroga
	Cuvu (Naidovi)
	 
	 
	20
	6
	26

	4
	Voua Community Hall
	Nadroga
	Voua Village
	 
	 
	31
	27
	58

	5
	Nalele Comm Hall
	Nadroga
	Malomalo
	 
	 
	42
	31
	73

	 
	TOTAL
	
	
	18
	
	268
	171
	457


NADI
	Srl
	Evacuation Centre
	Adult
	Child
	Infant
	Total
	Household
	Remarks

	01
	Korovuto EC’s
	12
	5
	2
	19
	-
	

	02
	Narewa EC’s
	25
	20
	7
	52
	-
	

	03
	Navoci hall
	20
	26
	2
	48
	-
	

	04
	Namotomoto EC’s
	23
	18
	2
	43
	-
	

	05
	Nakavu hall
	30
	19
	2
	51
	-
	

	06
	Korociri hall
	19
	7
	6
	32
	-
	

	07
	Koroivolu Church
	26
	8
	1
	35
	-
	

	08
	Yavusania (1 house)
	18
	6
	-
	24
	-
	

	09
	Salvation Army
	41
	17
	1
	59
	-
	

	10
	Nawaka hall
	28
	37
	3
	68
	-
	

	11
	Rt Nauliano
	13
	2
	1
	16
	-
	

	12
	Saunaka Church
	29
	35
	1
	65
	-
	

	13
	Nakurakura hall
	15
	7
	1
	23
	-
	

	14
	LDS hall
	26
	25
	8
	59
	-
	

	15
	Cawa hall
	20
	10
	0
	30
	-
	

	16
	Nawajikuma hall
	26
	8
	2
	36
	-
	

	17
	Govt Quarters (near Novotel)
	16
	11
	1
	28
	-
	

	
	TOTAL
	387
	261
	40
	688
	-
	“


A team interviewed families in evacuation centers for reasons contributing to their prolonged   stay in the centres.

· The silt deposit in the compounds and accompanying unbearable stench are the main reasons for the delay in their return.

· It is to be noted that their homes are clean and have been sprayed with disinfection chemicals but unless and until the foul smell goes away, the evacuees will remain at the evacuation centers. The National Controller has been briefed of this situation.

ANNEX- 2: LATEST UPDATE FROM FRA

Western Division

	DEPOT
	ROAD NAME
	LOCATION
	LANDMARK
	STATUS OF DAMAGE
	ADVISE
	ACTION TAKEN
	RESOURCES ON SITE

	Sigatoka




Weather
Light Showers
	1) Valley Rd
	Between Varealobo to Namoli
	 
	Multiple andslides blocking road
Cleared yesterday
	Open to all traffic - target to complete by Thursday  19/04/12
	Works in progress
	 

	
	2) Namoli
	 
	Close to Namoli village
	landslide
	Open from Korolevu side
	Restoration works in progress - expect to complete by 19/04/12
	1 M/Excavator 

	
	3)Tilivalevu
	 
	Lawaqa Waterfall
	Mutiple landslides on road
	Closed to all traffic
	No works today - due to unavailability of operator 
	 

	
	4)Balenabelo
	After Balenabelo District School
	 
	Landslides blocking road - 100mtr length
	Closed to all traffic
	Works in progress
	1 L/Excavator

	
	5) Emuri Rd.
	2.4 km
	Tuvu Irish Crossing
	1.0 mtr. Underwater
	Closed to all traffic
	Awaiting water to recede
	 

	Nadi




Weather
Light Showers
	1) Bukuya/Valley Rd
	Nasivikoso Irish
Crossing
	 
	Water receded but with strong current
	Open to 4WD
	Temporary restoration works complete
	 

	
	2)Namulomulo Village Road
	Namulomulo Village
	 
	Approach washout
	Closed to all traffic
	Awaiting water to recede
	 

	
	3)Masi Circular Road
     Non PWD Rd
	 
	 
	Approaches wash out again due to heavy rain last night and this morning
	Temporary open to all traffic
	Temporary restoration works completed
	 

	
	4)Nasesevia Road
	Vunamoli - past Ship farm
	 
	Landslide and road washed away
	Closed to all traffic
	Works in progress
	1 M/Excavator & 1 Tipper truck

	
	5) Legalega Rd
	 
	Near Korovatu Church
	Culvert crossing partly washed out
	Open to single lane traffic - No bus services
	Works uncomplete due to lack of backfilling material.
	 

	Tavua

Weather
Overcast
	1) Koula Back Road
	Culvert 4/4
	 
	Temporary Crossing wash out
	Closed to all traffic but accessible to both Vatukoula and Ba sides
	Culverts delivered to site. Sourcing machines and meshwire.
	 

	
	
	
	
	
	
	
	

	Summary
	
	
	
	
	
	
	

	Roads Closed : 
	
	
	
	
	
	
	

	Nadroga 
	=    3
	
	
	
	
	
	

	Nadi           
	=    2
	
	
	
	
	
	

	Lautoka    
	=    0
	
	
	
	
	
	

	Ba                
	=    0
	
	
	
	
	
	

	Tavua         
	=    1
	
	
	
	
	
	

	Rakiraki   
	=     0
	
	
	
	
	
	

	Total      
	=    6
	
	
	
	
	
	


ANNEX- 3: WAF LATEST UPDATE
WESTERN AREA AS @ 7PM (16/04/12)
RAKIRAKI:


	PRESENT SITUATION
	Supply is normal

INTAKES:

· Nakasia Intake – Operational.  Screens are being cleaned daily

· Narara Intake - Operational

· Qalau pump – Pumps running.

RETICULATION:

· All areas opened up.



	ACTION PLAN
	· Response Works are complete.

· Assessments underway

· Continue with the bank protection works at Qalau PS.  


TAVUA /VATUKOULA:

	PRESENT SITUATION
	· 98% of supply restored.  Hospital and town areas on 24/7

· Houses in Upper Balata now receiving water during the day

· 80mm main at Yasiyasi completed

· 2 pumps running at Vatukoula.

· Power Normal.  

· Small mains repairs continuing

	ACTION PLAN
	· Arrange for fittings of various sizes to be ready.  Work is underway; As water supply is restored to areas the area is being searched for damaged main/services 

· River crossing on the new 375 main has been damaged.  Main has been isolated.  Original 300 main maintaining supply.  Water levels are still too high to allow repairs to be made.

· The Toko – Yalandrou crossing has been damaged.  Has been isolated. Water levels are still too high to allow repairs to be made.




  BA:

	PRESENT SITUATION
	· 65% of supply restored.  Water supply back to areas where It was before yesterdays power interruption 

· Nadrou- 1 pump operating.  
 Mains power Normal
1 under repair (motor being rewound). Current timing.  Motor will be returned on Wednesday from repairs, assembly Wednesday during the day & reinstalled on Wednesday night. The delay has been caused by procurement of materials being late to the repairer.

· Varaciva - 2 pumps running – Mains power

· Water Tanks at Evacuation Centres being filled.

· Varavu and Navoli Boreholes in operation.

· Waiwai Dam.  Access track to be re-instated

· 4 water trucks servicing evacuation centres and affected areas where they have access.

· One 150mm main repaired at Talaya (near Moto Crossing) today

· All SPS operating normally

	ACTION PLAN
	· Repair works have started and assessments’ being carried out as water is progressively being restored.

· continue repairing burst mains/services


NADI /LAUTOKA:

	PRESENT SITUATION


	WATER SYSTEMS
	· Service Restoration  85% Nadi, 80% Lautoka

· Inflow into Nagado WTP is now 88 MLD. 
Buabua WTP at 45% of capacity (10MLD)
Saru WTP: Operating at 100% of capacity.
 

· Saru WTP: Plant Inflow 62L/s (Normal).  Restoration of supply ongoing.  

· Buabua WTP:  Supply being restricted areas where we can’t run water trucks.

· Nalau intake: Repair works at the irish crossing completed.  Repair works at the intake continuing.  
· Nawaka River Crossing:  Back filling and protection works underway.  River has diverted away from the repair site.
· Water Carting – 6 trucks currently servicing areas concentrated in the Buabua Zone, Lautoka and 5 trucks in Nadi.
· Sonaisali - OK



	
	SEWER SYSTEMS
	Nadi SPS – Power On.  All pumps operational.  Restart of Nadi town SPS delayed while crews dealing with a collapsed trunk sewer in Denarau Rd.  Roding (cleaning) of main ongoing.  Bailing truck running.

· FASA SPS still isolated by floodwaters

· Lautoka SPS – Power ON.  All pumps operating 



	ACTION PLAN
	· Work has commenced on repairs and assessments are underway.

· Complete work on the Naulau Raw water main 

· Saru WTP: Continue restoration of supply in areas supplied from Saru WTP

· Arrange for fittings of various sizes to be on hand for repairs to the smaller mains/services.


SIGATOKA:

	PRESENT SITUATION
	WATER SYSTEMS
	· FEA power supply on. Power was restored at 11:00am

· Matovo WTP is operating at about 80% of normal.    (2 gallery running plus River pumps).   River pumps re-positioned.   Pump section has advised that the motor has to be replaced on the third gallery pump.  Motor cannot be repaired.
· Korotogo Borehole is on..

· Qereqere Boreholes running.  

· Lawaqa gravity is in operation.

· 2 water trucks in operation.

· Intercontinental is beingsupplied by gravity direct from Voua Res. until we are in position to run the pumps for Natadola reservoir



	
	SEWER SYSTEMS
	· All sewer pump stations operating normally.



	ACTION PLAN
	· Arrange for fittings of various sizes to be on hand for the repairs to the smaller mains/services.

· Continue repairs to smaller mains and services.

· Continue with assistance to rural communities who are experiencing problems. 

· Repairs to 80mm main at Lawaqa Bridge underway.

· Continue restoration of supply.




· HYDROLOGY SECTION -  UPDATE AROUND THE COUNTRY

All river level monitoring has returned to normal background monitoring. 

Commissioner central de-mobilised as of 6:00pm 12/4/2012.  All evacuation centres shutdown

A. CENTRAL  AREA

SUVA /NAUSORI:

· Headworks 3 Overflowing

· Both Waila and Waimanu Intake pumping station flooded; quality of inflow has high turbidity. 

NAVUA:   Inflow water quality is of high turbidity.

LEVUKA:  - Operations normal.

B. NORTHERN AREA

LABASA:  Operations normal

OTHER AREAS: Operation normal

[image: image2.png]



D I S M A C





� EMBED PBrush ���





MINISTRY OF PROVINCIAL DEVELOPMENT & NATIONAL DISASTER MANAGEMENT OFFICE  


1 Knolly Plaza, Knolly Street, Suva; Post Office Box 2219, Government Buildings Suva Republic of the Fiji Islands; Telephone : 3318078 Fax : 3319315 








_1396022301

