SHELTER CHECKLIST

These checklists have been produced to assist shelter and settlements actors in supporting more inclusive programming.

The checklists complement the relevant sections of All Under One Roof and provide a short set of specific actions for shelter and settlement teams to confirm as they work through their activities. These can be adapted to the country level context.

For further guidance, refer directly to the specific Shelter Design Recommendations section of All Under One Roof.

SHELTER CHECKLIST

| ☐ | All parts of the distribution process have been assessed for accessibility and safety and appropriateness of distributed items has been confirmed. |
| --- | --- |
| ☐ | All information, guidelines and technical documentation related to emergency shelter activities (including distribution and shelter construction) is in multiple accessible formats. |
| ☐ | Support has been provided for transportation of materials, tools or other household items (e.g., Cash grants, home delivery service, community support). |
| ☐ | Potential sites have been cleared and all rubble and debris removed. |
| ☐ | A catalogue of possible solutions and adaptations based on locally available materials and techniques has been developed and shared. |
| ☐ | Persons with disabilities have been engaged in any demonstration shelter building and additional building support has been provided to vulnerable groups. |
| ☐ | Shelters have been designed to improve natural ventilation to improve hygiene and thermal comfort. |
| ☐ | Shelters provide privacy for persons with disabilities, women and children, with additional materials available. |
| ☐ | Artificial lighting is provided to increase accessibility and safety. |
| ☐ | Where ramps are required, these have been constructed with a maximum slope of 1:10 and a non-slip surface provided. |
| ☐ | All openings in shelters are at least 90cm wide, with no barriers on the ground. |
| ☐ | Solid railings or handles have been provided as support structures for people to move around shelters and move up and down from beds, toilets or wheelchairs. |