Prepare for the rains

Move shelters out of areas that will flood

Raise the floor

Dig drains around each shelter and connect to site drains



Put a slope on the roof so that water runs off



Keep the roof sheets tight to stop puddles forming

DRAFT March 2014